| 2007 Carlisle Water Quality Report |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical or Radiological Contaminant | MCL In CCR Units | MCLG | Highest Level Detected | Range of Detection | Units | Violation YES/NO | Sources of Contamination |
| Barium1 | 2 | 2 | .03 | Single sample | ppm | NO | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| Cholrine2 (Entry Point) (Distribution) | MRDL=4 | MRDLG=4 | 1.93 1.95 | 1.37-1.93 0.11-1.95 | ppm | NO | Water additive used to control microbes |
| Flouride* | 2 | 2 | 1.9 | .12-1.9 | ppm | NO | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Nitrate | 10 | 10 | 5.24 | 3.52-5.24 | ppm | NO | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Total Haloacetic Acids (HAA) | 60 | n/a | 22.9 | 10.6-47.1 | ppb | NO | By-product of drinking water disinfection (chlorination) |
| Total Trihalomethanes | 80 | n/a | 30.7 | 6.6-59.8 | ppb | NO | By-product of drinking water disinfection (chlorination) |
| Total Organic Carbon3 (TOC)** | TT | n/a | 32.9 | 17.4-71.4 | % removal | NO | Naturally present in the environment |
| Dichloromethane4 | 5 | 0 | 2.6 | 0-2.6 | ppb | NO | Discharge from chemical and pharmaceutical factories |
| Alpha Emitters5 | 15 | 0 | 4.22 | Single sample | pCi/L | NO | Erosion of natural deposits |

*Epa MCL for Flouride is 4 ppm. However, Pennsylvania has set a lower MCL to better protect human health.

**Total Organic Carbon provides a medium for the formation of disinfection byproducts such as trihalomethanes and halocetic acids.

Carlise was required to remove at least 15-20% of the TOC based on the alkalinity of our source water. The highest level detected is actually the least amount of TOC removed per month based on a rolling annual average.

1. The most recent test for barium was in 2002.

2. Free or total chlorine residual is measured in the water distribution system to assure that the water supply is properly disinfected.

3. Compliance for TOC removal is based on a rolling annual average, therefore some of the data in the table is from 2006.

4. Dichloromethane was detected in 2005.

5. Certain minerals are radioactive and emit this form of radiation. The most recent test for alpha emitters occurred in 2003.